## IFB 20-24
SCHEDULE OF ITEMS AND PRICES WORKSHEET
IFB 20-24 HVAC REPLACEMENTS FOR CENTRAL CAMPUS
The Proposer/Contractor agrees to furnish all labor, tools, equipment, materials, supervision, transportation, insurance, reports and all other items necessary to perform the work complete, in strict compliance with the terms and conditions of the contract at the firm unit rates Stated herein in accordance with the Scope of Services and the corresponding Frequency and Pricing Chart below:
Project A
TASK ITEM | DESCRIPTION | UOM | QTY | UNIT COST | EXTENDED PRICE
1 | VAV AHU, Carrier, Model 39MN09 (or equivalent) | EACH | 1 | 0 | 0
2 | VAV AHU, Carrier, Model 39MN11 (or equivalent) | EACH | 2 | 0 | 0
3 | VAV AHU, Carrier, Model 39MN06 (or equivalent) | EACH | 1 | 0 | 0
4 | CAV AHU, Carrier, Model 39500 (or equivalent) | EACH | 3 | 0 | 0
5 | Chiller with Pump, Carrier, Model 30RAP045 (or equivalent) | EACH | 2 | 0 | 0
6 | Single Inlet VAV, Titus, Model DESV-8 (or equivalent) | EACH | 3 | 0 | 0
7 | Single Inlet VAV, Titus, Model DESV-6 (or equivalent) | EACH | 5 | 0 | 0
8 | 1Single Inlet VAV W/Reheat, Titus, Model DESV-8 (or equivalent) | EACH | 1 | 0 | 0
9 | Single Inlet VAV W/Reheat, Titus, Model DESV-10 (or equivalent) | EACH | 2 | 0 | 0
10 | Fan Powered Terminal Unit, Titus, Model DFLS-4 (or equivalent) | EACH | 9 | 0 | 0
11 | Fan Powered Terminal Unit, Titus, Model DFLS-3 (or equivalent) | EACH | 8 | 0 | 0
10 | Fan, Greenheck, Model SAF-115-10 (or equivalent) | EACH | 1 | 0 | 0
11 | Gravity Ventilators, Greenheck, Model GRSI (or equivalent) | EACH | 3 | 0 | 0
12 | Gravity Ventilators, Greenheck, Model FGR (or equivalent) | EACH | 1 | 0 | 0
13 | Air Diffuser, Titus, Model PAS-AA (or equivalent) | EACH | 3 | 0 | 0
14 | Air Diffuser, Titus, Model TMSA-AA (or equivalent) | EACH | 1 | 0 | 0
15 | Water Heater, RHEEM, Model ELD-80 (or equivalent) | EACH | 1 | 0 | 0
16 | Turn Key Controls W/ Thermostats | LOT | 1 |  | 0
17 | All associated equipment not listed in the equipment schedule, to include Control Systems Automation. | LOT | 1 |  | 0
18 | Labor Cost – Removal, Recycling and Disposal of Existing HVAC Equipment | LOT | 1 |  | 0
19 | Labor Cost – Installation of the New HVAC & Associated Equipment | LOT | 1 |  | 0
20 | Bond Cost | LOT | 1 |  | 0
|  |  |  | Base Bid Total: | 0
Project B
TASK ITEM | DESCRIPTION | UOM | QTY | EXTENDED PRICE
1 | Air Handler – AHU-CV, Carrier, Model 39MN03 (or equivalent) | EACH | 1 | 0
2 | Labor Cost – Removal, Recycling and Disposal of Existing HVAC Equipment | LOT | 1 | 0
3 | Labor Cost – Installation of the New HVAC & Associated Equipment | LOT | 1 | 0
4 | Bond Cost | LOT | 1 | 0
|  | Base Bid Total: |  | 0
| PROJECT “A & B” BASE BID TOTAL – “TURN-KEY PROJECT” | 0
| EDUCATIONAL DISCOUNT FOR MULTIPLE AWARDS | 0
| CONTINGENCY | 450000
| GRAND TOTAL | 450000